| Institution: | Texas State Technical College | Award Title: | Biomedical Equipment Technician |
| --- | --- | --- | --- |
| Program: | AAS Biomedical Equipment Technology | Award CIP Code: | 15.0401 |

| Key Activities to WECM Courses Matrix |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Biomedical Equipment Technician Skill Standards Key Activity #/Statement | WECM Course Rubric, Number and Title |  |  |  |  |  |  |  |  |  |
|  | BIOM 1101 Biomedical Equipment Technology | BIOM 1270 Shop Skills for BioMedical Equipment Technicians | BIOM 1309 Applied Biomedical Equipment Technology | BIOM 1341 Medical Circuits/ Troubleshooting | BIOM 2215 Physiological Instrumentation I | BIOM 2231 Biomedical Clinical Instrumentation | BIOM 2301 Safety in Healthcarre Facilities | BIOM 2311 General Medical Equipment I | BIOM 2319 Fundamentals of X-Ray and Medical Imaging Systems | BIOM 2380 OR 2388 Iuternship BioMedical Technology |
| 1.1 Receive, inspect and inventory equipment upon delivery |  | X |  |  |  |  |  |  |  | X |
| 1.2 Deliver equipment to installation location |  |  |  |  |  |  |  | X |  | X |
| 1.3 Conduct incoming inspection |  | X |  |  |  |  |  | X |  | X |
| 1.4 Install equipment |  |  |  |  |  |  |  | X |  | X |
| 2.1 Conduct scheduled preventive maintenance |  |  |  | X | X | X | X | X | X | X |
| 2.2 Order parts and supplies |  |  |  | X |  | X |  | X |  |  |
| 2.3 Respond to device alerts and recalls |  |  |  |  |  |  | X |  |  |  |
| 2.4 Conduct rounds |  |  |  |  | X | X |  |  | X | X |
| 3.1 Respond to device failures reported by users |  |  |  |  | X |  |  | X |  |  |
| 3.2 Diagnose equipment malfunctions |  |  |  | X | x | X | X | X | X | X |
| 3.3 Order parts and supplies |  |  |  | X |  |  |  | X |  |  |
| 3.4 Repair faults and calibrate equipment |  |  |  | X | X | X | X | X | X | X |
| 3.5 Return equipment to service |  |  |  | X |  | x | X | X | X | X |
| 4.1 Respond to emergencies |  |  |  |  | X |  |  | X |  | X |
| 4.2 Ensure public and employee safety in the healthcare facility | X | X | X |  |  | X | X | X | X | X |
| 4.3 Identify hazards in and around work areas |  | X |  | X |  | X | X | X | X |  |
| 5.1 Maintain equipment, parts, and inventory database |  | X |  |  |  |  |  | X |  | X |
| 5.2 Assist with equipment recalls and health device alerts (HDAs) |  |  |  |  |  |  | X |  |  |  |
| 5.3 Update equipment maintenance documentation |  |  |  | X | X | X | X | X | X |  |
| 6.1 Coordinate resources to facilitate repairs |  |  |  |  |  |  |  |  |  | X |
| 6.2 Conduct quality assurance check of third-party repairs |  |  |  |  |  |  |  |  |  | X |
| 6.3 Verify third party documentation of repairs |  |  |  |  |  |  |  |  |  | X |
| 7.1 Demonstrate equipment for facility staff | X | X |  |  |  |  |  |  |  | X |
| 7.2 Respond to user requests for assistance |  |  |  | X | X | X |  |  |  | X |
| 7.3 Identify need for in-service presentations | X |  | X | X |  |  |  |  |  |  |