## Submission
CWF | KA | Key Activity Text | INTC 1315 Final Control Elements | INTC 1322 Analog Controls | INTC 1475 Sample Systems | INTC 2330 Trouble- shooting | INTC 2333 Instrumen- tation and Installation | INCR 1302 Physics of Instrumen-tation | INTC 2310 Principles of Industrial Meas. II | ELPT 2319 Programm-able Logic Controller | INTC 2359 Distributed Control Systems | INTC 1448 Analytical Instrumentation
1 | 1 | Install pneumatic, electronic and digital controllers, and remote telemetry units. |  | x |  |  | X | X |  |  | X
1 | 2 | Install pneumatic, electronic and digital control valves, and self operated pressure regulators. | X |  | X |  | X |  |  |  | X
1 | 3 | Install current to pneumatic (I/P), pneumatic to current (P/I), voltage to current (E/I), current to voltage (I/E), digital to analog, (D/A), and analog to digital (A/D) transducers. | X |  |  |  | X | X | X | X
1 | 4 | Install pneumatic, electronic and digital transmitters and measuring devices. |  |  |  |  | X |  |  |  | X
1 | 5 | Install pneumatic, electronic and digital relays and alarm panels. |  | X |  |  | X |  |  |  | X
1 | 6 | Install pH, conductivity, gas chromatograph, turbidity, infrared, combustible, ultraviolet, oxygen, lower explosive limit and other analyzers and sample systems. |  |  | X |  |  | X | X |  |  | X
1 | 7 | Install pneumatic, electronic and digital switches. |  | X |  |  | X |  |  | x | X
1 | 8 | Install electronic, digital and variable frequency drive (VFD) or variable speed drive (VSD) motor controllers. |  | X |  |  | X |  |  | X
1 | 9 | Install DCS, PLC and fieldbus process control networks. |  |  |  |  | X |  |  | X | X
1 | 10 | Install 600-volt or less motors and rotating equipment protection devices such as vibration monitoring and motor control relays. |  | X |  |  | X
2 | 1 | Maintain pneumatic, electronic and digital controllers, and remote telemetry units. | [5 empty] | X
2 | 2 | Maintain pneumatic, electronic and digital control valves, and self operated pressure regulators. | X | [7 empty] | X
2 | 3 | Maintain current to pneumatic (I/P), pneumatic to current (P/I), voltage to current (E/I), current to voltage (I/E), digital to analog, (D/A), and analog to digital (A/D) transducers. | X | [6 empty] | X | X
2 | 4 | Maintain pneumatic, electronic and digital transmitters and measuring devices. | X | [7 empty] | X
2 | 5 | Maintain pneumatic, electronic and digital relays and alarm panels. |  | X | [6 empty] | X
2 | 6 | Maintain pH, conductivity, gas chromatograph, turbidity, infrared, combustible, ultraviolet, oxygen, lower explosive limit and other analyzers and sample systems. |  |  | X |  |  | X | X |  |  | X
2 | 7 | Maintain pneumatic, electronic and digital switches. |  | X | [6 empty] | X
2 | 8 | Maintain electronic, digital and variable frequency drive (VFD) or variable speed drive (VSD) motor controllers. |  | X | [5 empty] | X
2 | 9 | Maintain DCS, PLC and fieldbus process control networks. | [7 empty] | X | X
2 | 10 | Maintain 600-volt or less motors and rotating equipment protection devices such as vibration monitoring and motor control relays. |  | X | [6 empty] | X
3 | 1 | Troubleshoot pneumatic, electronic and digital controllers, and remote telemetry units. |  |  |  | X |  |  |  |  | X
3 | 2 | Troubleshoot pneumatic, electronic and digital control valves, and self operated pressure regulators. | X |  |  | X |  |  |  |  | X | X
3 | 3 | Troubleshoot current to pneumatic (I/P), pneumatic to current (P/I), voltage to current (E/I), current to voltage (I/E), digital to analog, (D/A), and analog to digital (A/D) transducers. |  |  |  | X |  |  |  |  | X
3 | 4 | Troubleshoot pneumatic, electronic and digital transmitters and measuring devices. |  |  |  | X |  |  |  |  | X | X
3 | 5 | Troubleshoot pneumatic, electronic and digital relays and alarm panels. |  | X |  | X
3 | 6 | Troubleshoot pH, conductivity, gas chromatograph, turbidity, infrared, combustible, ultraviolet, oxygen, lower explosive limit and other analyzers and sample systems. |  |  | X |  |  | X | X |  |  | X
3 | 7 | Troubleshoot pneumatic, electronic and digital switches. |  | X |  | X |  |  |  |  | X
3 | 8 | Troubleshoot electronic, digital and variable frequency drive (VFD) or variable speed drive (VSD) motor controllers. |  | X |  | X
3 | 9 | Troubleshoot DCS, PLC and fieldbus process control networks. |  |  |  | X |  |  |  | X | X
3 | 10 | Troubleshoot 600-volt or less motors and rotating equipment protection devices such as vibration monitoring and motor control relays. |  | X |  | X |  |  |  |  | X
4 | 1 | Repair or replace pneumatic, electronic and digital controllers, and remote telemetry units. | [5 empty] | X | X
4 | 2 | Repair or replace pneumatic, electronic and digital control valves, and self operated pressure regulators. | X |  |  |  |  | X |  |  | X | X
4 | 3 | Repair or replace current to pneumatic (I/P), pneumatic to current (P/I), voltage to current (E/I), current to voltage (I/E), digital to analog, (D/A), and analog to digital (A/D) transducers. | X | [7 empty] | X
4 | 4 | Repair or replace pneumatic, electronic and digital transmitters and measuring devices. | [5 empty] | X |  |  | X
4 | 5 | Repair or replace pneumatic, electronic and digital relays and alarm panels. |  | X | [6 empty] | X
4 | 6 | Repair or replace pH, conductivity, gas chromatograph, turbidity, infrared, combustible, ultraviolet, oxygen, lower explosive limit and other analyzers and sample systems. |  |  | X |  |  | X | X |  |  | X
4 | 7 | Repair or replace pneumatic, electronic and digital switches. |  | X | [6 empty] | X
4 | 8 | Repair or replace electronic, digital and variable frequency drive (VFD) or variable speed drive (VSD) motor controllers. |  | X
4 | 9 | Repair or replace DCS, PLC and fieldbus process control networks. | [7 empty] | X | X
4 | 10 | Repair or replace 600-volt or less motors and rotating equipment protection devices such as vibration monitoring and motor control relays. |  | X | [6 empty] | X
5 | 1 | Maintain Heating Ventilation and Air Conditioning (HVAC) systems including the heater, condenser/evaporator, fans, filters and thermostats that control the temperature and/or humidity in a closed space. | [9 empty] | X
5 | 2 | Maintain lighting systems including the indoor and outdoor lights, changing light bulbs, replacing fluorescent ballasts, checking breakers and switches. |  | X
5 | 3 | Maintain backup power generation systems limited to low voltage generators (less than 600 volts) powered by diesel, gasoline or natural gas powered engines. |  | X
5 | 4 | Maintain cranes and/or hoists including the electric motors, controls and breakers. |  | X
5 | 5 | Maintain instrument air compressors including the compressor drive, compressor, filters, dryers and associated controls. | [8 empty] | X
5 | 6 | Maintain plant communication systems such as Supervisory Control And Data Acquisition (SCADA) systems, handheld radios and transmitting or repeater stations, and intercom systems. |  | x
5 | 7 | Maintain Uninterruptible Power Supplies (UPS) and Inverters. |  | X
5 | 8 | Maintain cathodic protection systems. |  | X
5 | 9 | Maintain navigation aids including lights and switchgear associated with lighting systems required for navigation aids or warnings. |  | X
5 | 10 | Maintain high voltage equipment including equipment that is energized with 600 volts or more. |  | X